## Sheet1
Supplement 2 - Barcoding of Myxomycetes with the 18SrDNA marker: steps, duration, equipment
- all estimates of the time needed are for one 96 well rack with 200µl PCR tubes
- times in bold are active work time, times in Italics are incubation / machine times > 20 min
- solid horizonal line: procedure can be interrupted; steps 6 and later can be outsourced (commercial sequencing)
Step | Chemicals | Equipment | Time
1. Collecting spores |  | 96 well rack | 60-180 min
- carrying over spores, wiping the needle |  | preparation needle
- adding steel balls, store dry |  | Steel ball
2. Destroy spores
- centrifuge spores briefly down (795 rcf) |  | plate centrifuge | 3 min
- precool to 4-8°C |  |  | 30 min
- break spores (ball mill, 30 Hz 70 sec) OR vortex 3 x 1 min |  | ball mill / vortexer | 5 min
- centrifuge spores briefly down (795 rcf) |  | plate centrifuge | 3 min
3. Lysis
- add 20 µl lysis buffer and 0.5 µl Proteinase K | TRIS EDTA buffer (1) | pipette | 45 min
- vortex | Proteinase K (2) |  | 5 min
- incubation 55°C (can be extended to up to 3 hrs) |  | Thermocycler | 25 min
- incubation 97°C |  | or water bath | 7 min
- product can be stored at 5°C at least over night
4. PCR with 4 µl supernatant transferred to fresh tube
- prepare Master Mix, add 21 µl Master mix | PCR Master Mix (3) | pipette | 45 min
- centrifuge lysis suspension down (795 rcf) to obtain clear supernatant |  |  | 3 min
- PCR reaction |  | Thermocycler | 150 min
initial 95°C / 2 min
40 x 95°C / 30 sec, Ta / 30 sec, 72°C / 60 sec | Ta: annealing temp. of primer pair
terminal 72°C / 5 min
- product can be stored for at least four weeks at -20°C
5. Check for successful PCR
- vortex tubes, centrifuge down |  | Electrophoresis chamber
- prepare agarose gel (1.8%) | Agarose (4) | pipette | 30 min
- add product and loading dye (each 4.5 µl) | Loading Dye (5) | pipette | 60 min
- add ladder (6 µl) |  | pipette
- run electrophoresis (100 V) |  |  | 60 min
- EthBr staining and photographing |  | UV Lamp | 20 min
- at this point, the product can be send off to commercial sequencing
(check, if purification of product is included in the offer)
6. Purification for Sequencing
- add 1 µl Exonuclease / Phosphatase-Mix | Exol (6) + FastAP (7) | pipette | 20 min
to 5 µl product
- incubation 37°C |  | water bath | 60 min
- incubation 85°C |  |  | 15 min
- photometric measurement, dilute to 20 ng/µl |  | Spectrophotometer | 90 min
- the further steps are only needed for in-house sequencing
7. Cycle Sequencing (transfer 2.5µl to new tube) |  |  | 60 min
- add 1.5 µl 5x Sequencing buffer | Sequencing buffer (8) | pipette
- add 0.25 µl Half Big Dye | Half Big Dye (9) | pipette
- add 0.25 µl Big Dye 3.1 Terminator Ready Reaction Mix | Terminator R. mix (10) | pipette
- add 0.64 µl 10 µM reverse primer | Primer (F or R) | pipette
- adjust with ddH2O to 10 µl
- PCR reaction |  | Thermocycler | 150 min
initial 96°C / 1 min
25 x 96°C / 10 sec, Ta / 5 sec, 60°C / 4 min | Ta: annealing temp. of sequencing primer
8. Purification and sequencing
- add 30 µl 96% EtOH, vortex |  |  | 20 min
- centrifuge 2240 rcf |  | plate centrifuge | 25 min
- wash pellet with 100µl 70% EtOH |  |  | 20 min
- centrifuge 2240 rcf |  | plate centrifuge | 25 min
- discard EtOH, drain pellets at 37°C | in cycler, leave lid open |  | 15 min + 60 min
- dissolve in 20 µl water, vortex several times, centrifuge down |  | dd H2O | 45 min
- Sequencing with Capillary Sequencer |  | Sequencer | 20 min + 6 h
Chemicals
For PCR:
(1) Tris EDTA buffer: 0.05 M KCl, 0.05 M TRIS pH 8, 2.5 mM EDTA, 0.9% Triton X
(2) Proteinase K: 20 mg/ml, Roth No 3719.1 or PanReac/Applichem
(3) PCR Master Mix: 1x Molzym PCR buffer with 3.4 mM MgCl2, 0.2 mM dNTPs, 0.25 µM of each primer, 1 U Taq polymerase
(4) Agarose (Biozym)
(5) Loading dye (e.g., Roth, Thermofisher)
For in-house sequencing:
(6+7) Purification mix, for 100 µl:
- 10 µl Exol (exonuclease, delivered with 20 U/µl, Thermo Scientific)
- 20 µl FastAP (alcalic phosphatase, delivered with 1 U/µlThermo Scientific)
- 50 µl ddH20
- 10 µl 10x FastAP buffer
- 10 µl 10x Exol buffer
Use 1 µl of this mix for 5 µl PCR product (modified to effective conc. of 2U/0.2U instead of 10U/1U)
(8) Sequencing buffer (Thermo Scientific, formerly Applied Biosystems)
(9) Half Big Dye (Sigma)
(10) Terminator Ready Reaction Mix (Thermo Scientific, formerly Applied Biosystems)
Devices
Plate centrifuge Eppendorf 5810 with rotor for 96 well racks
Ball mill Retsch MM 310 (vibrating mill) OR Vortexer Vortex Genie 2, run at stage 12
Thermocycler Eppendorf Mastercycler
Spectrophotometer Nanodrop LITE